## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Executive Engineer Cum Project Manager Jal Shakti Vibhag, Division Barsar, Himachal Pradesh
Name of Work: Providing Irrigation Facility under HP SHIVA Project for Bamsan, Bhoranj and Bijhar Blocks, District Hamirpur (Himachal Pradesh) – Package 03
Contract No: HPSHIVA/OCB-CWJ/IRG/HMR-01/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT including Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil Work | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | RCC Intake Structure :- Designing, Constructing, Testing & Commissioning (to be approved by the competent authority) of RCC intake Structure as per drawings, having RCC structure, Roofing with RCC slab, allied electrication work including lighting fixtures, fans, street / area lighting using poles, associated wiring/ cabling ,MCB DBs,receptacle system & accessories etc., Walk way/ passage CI Rungs inside the structure from top to bottom and steel stair case from ground level to top of intake with connecting path having suitable capacity crane/ hoist arrangement for handling of pumping machinery complete in all respects to the entire satisfaction of the Engineer-in-charge. for . Refer Data Sheet No-1. at LIS Barol, LIS Jol, LIS Lagmanwin, LIS Lambagram,at LIS Mundhkar Tulsi and LIS Samlog | BI01010001010000000000000515BI0100001113 | 6 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
3 | Proposed Mounting structure for Submersible pump including all leads and lifts as per direction of engineer in charge.At LIS Lafran and LIS Parol | BI01010001010000000000000515BI0100001114 | 2 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Renovation of Pump house and Proposed Mounting structure for Submersible pump including all leads and lifts as per direction of engineer in charge.At LIS Bhalat, LIS Ghanot, LIS Kalwal and LIS Seri Bhakredi | BI01010001010000000000000515BI0100001115 | 4 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | RCC Check Dam : Designing, Constructing, Testing & Commissioning ( to be approved by the competent authority) and Construction of RCC Check Dam as per drawings complete in all respects to the entire satisfaction of the Engineer-in-charge. The contractor shall provide 6 sets of approved drawing and design with one soft copy to the department.for the following size- 10 meter length and 6 meter depth at LIS Mundhkar Tulsi | BI01010001010000000000000515BI0100001116 | 1 | Job | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6 | PUMP HOUSE:- Designing, Constructing, Testing & Commissioning of Pump House & Chowkidar Room at following locations including all allied Civil Works, Electrical Works including lighting fixtures, fans, street / area lighting using poles, associated cabling/ wiring, MCB DBs, receptacle system & accessories etc., Sanitary Work, Site Development, Cutting/ Excavation in all kinds of soils, c/o PCC/ RCC Retaining walls, Breast walls, Toilets, Septic Tanks, External Solar powered Street lighting, External landscaping, Fire Fighting arrangement, Building Lightning Protection System (where applicable), Gantry Crane, dewatering etc complete as directed by engineer in charge The rates quoted by the contractor shall be for the complete work. All ancillary works and accessories required to make the system fully functional shall be included in the cost of work. Nothing extra shall be paid on this account. Refer Data Sheet No-2 | BI01010001010000000000000515BI0100001117 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | Pump house of 35.00 Sqm. Area at LIS Barol, LIS Jol, LIS Lambagram, LIS Lagmanwin and LIS Samlog | BI01010001010000000000000515BI0100001118 | 5 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.2 | Pump house of 35.00 Sqm. Area at LIS Mundhkar Tulsi | BI01010001010000000000000515BI0100001119 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.3 | Pump house of 35.00 Sqm. Area at LIS Lafran | BI01010001010000000000000515BI0100001120 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Designing, Constructing, Testing & Commissioning of Desilting tank including civil work, Necessary valves & fittings, tube settler media etc. complete in all respect as per the drawings & technical specification.for the followings size-Refer Data Sheet No-3 | BI01010001010000000000000515BI0100001121 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | 12 KL Capacity at LIS Lagmanwin | BI01010001010000000000000515BI0100001122 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.2 | 14 KL Capacity at LIS Gangot | BI01010001010000000000000515BI0100001123 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.3 | 18 KL Capacity at LIS Bhalat | BI01010001010000000000000515BI0100001124 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.4 | 24 KL Capacity at LIS Lafran, LIS Kalwal and LIS Seri Bhakredi | BI01010001010000000000000515BI0100001125 | 3 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.5 | 28 KL Capacity at LIS Jol and LIS Lambagram | BI01010001010000000000000515BI0100001126 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.6 | 28 KL Capacity at LIS Parol | BI01010001010000000000000515BI0100001127 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.7 | 32 KL Capacity at LIS Samlog | BI01010001010000000000000515BI0100001128 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.8 | 44 KL Capacity at LIS Mundhkar Tulsi | BI01010001010000000000000515BI0100001129 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.9 | 50 KL Capacity at LIS Barol | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8 | Designing, Constructing, Testing & Commissioning of Sump well including civil work, Necessary valves & fittings, tube settler media etc. complete in all respect as per the drawings & technical specification.for the followings size- | BI01010001010000000000000515BI0100001131 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
8.1 | 5 KL Capacity at LIS Lagmanwin | BI01010001010000000000000515BI0100001132 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.2 | 7 KL Capacity at LIS Bhalat and LIS Gangot | BI01010001010000000000000515BI0100001133 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
8.3 | 10 KL Capacity at LIS Lafran, LIS Kalwal and LIS Seri Bhakredi | BI01010001010000000000000515BI0100001134 | 3 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.4 | 11 KL Capacity at LIS Jol, LIS Lambagram and LIS Samlog | BI01010001010000000000000515BI0100001135 | 3 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
8.5 | 11 KL Capacity at LIS Parol | BI01010001010000000000000515BI0100001136 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8.6 | 20 KL Capacity at LIS Barol and at LIS Mundhkar Tulsi | BI01010001010000000000000515BI0100001137 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9 | Excavation in foundation, trenches (for pipes & pits) upto all depths in all classification of earth work such as pick work, jumper work, saturated soil including bailing and pumping out water, blasting soft/ hard rock or chieselling soft/hard rock where blasting is prohibited in all lifts including trimming and dressing of sides, leveling of beds to correct grade i/c shoring /strutting , planking, timbering & dewatering wherever required, stacking the useable & unuseable material /soil separately & after laying jointing & testing of pipes, returning the useable soil in trenches in 15 cm layers including consolidating of such deposoited layer by ramming & watering & then disposing of all surplus excavated soil /unusable material as directed with in all leads & lifts Excluding restoration metalled surfaces to its original condition( Will be paid Separately) & including cost of diversion for traffic, night signals, fixing caution boards, crossing over trenches for access to houses, fencing etc. complete in all respects with in all leads & lifts as per directions of Engineer-in-charge. | BI01010001010000000000000515BI0100001138 | 1634.01 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10 | Providing ,Laying,jointing & testing of Galvanised Mild steel tube with flange / Butt welding of approved make or by JSV Deptt (list attached) conforming to BIS 1239-2004 ( with upto date ammendements ) of following diameter and class including all specials and fittings as required complete as per actual site condition with in all leads and lifts as per the direction and to the entire satisfaction of Engineer-in Charge. The pipe shall be factory galvanized as per IS: 4736-1986 (with up to date ammendements) . | BI01010001010000000000000515BI0100001139 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.1 | 80 mm dia (Medium Class) | BI01010001010000000000000515BI0100001140 | 11164.2 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.2 | 100 mm dia (Medium Class) | BI01010001010000000000000515BI0100001141 | 5187.6 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.3 | 125 mm dia (Medium Class) | BI01010001010000000000000515BI0100001142 | 1074 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11 | Providing and fixing double flanged cast iron sluice valve of following dia of approved make of JSV to gravity main confirming to BIS: 780-1984 Class PN 1.00 having seat pressureof 10.20 Kg/cm² with M.SFlanges of table -5 with up to date ammendements. | BI01010001010000000000000515BI0100001143 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
11.1 | 80 mm dia | BI01010001010000000000000515BI0100001144 | 23 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11.2 | 100 mm dia | BI01010001010000000000000515BI0100001145 | 10 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
11.3 | 125 mm dia | BI01010001010000000000000515BI0100001146 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
12 | Providing and fixing screwed/flanged CI air valve (Single/double ball type) of approved make of JSV conforming to BIS-1452-1990 with upto date ammendments as per class PN-1.0 withstanding a seat pressure 15 Kg/cm2 in rising main within all leads and lifts. 50 mm Dia. | BI01010001010000000000000515BI0100001147 | 17 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Providing and fixing double flanged cast iron Scour valve of following dia of approved make of JSV to gravity main confirming to BIS: 780-1984 Class PN 1.00 having seat pressureof 10.20 Kg/cm² with M.SFlanges of table -5 with up to date ammendements. | BI01010001010000000000000515BI0100001148 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | 80 mm dia | BI01010001010000000000000515BI0100001149 | 16 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Construction of Anchor Block at every in CC 1:1.5:3 (1 cement :1.5 sand :3 graded stone add 20 mm NS) i/c cost of Excavation , form work , C.C work, and reinforcement & curing complete of tentative size 1.50m x 1.50m x 2.00m to provide support to rising main pipe after every 50 m length complete as per direction and to the entire satisfaction of Engineer -in-Charge with in all leads and lifts. (The RD wise structural design shall got approved from the competent autrhority prior to construction of Thrust/Anchor blocks) Bamsan block | BI01010001010000000000000515BI0100001150 | 5 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
15 | Construction of Anchor Block at every in CC 1:1.5:3 (1 cement :1.5 sand :3 graded stone add 20 mm NS) i/c cost of Excavation , form work , C.C work, and reinforcement & curing complete of tentative size 1.50m x 1.50m x 2.00m to provide support to rising main pipe after every 50 m length complete as per direction and to the entire satisfaction of Engineer -in-Charge with in all leads and lifts. (The RD wise structural design shall got approved from the competent autrhority prior to construction of Thrust/Anchor blocks) Bhoranj block | BI01010001010000000000000515BI0100001151 | 33 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16 | Construction of Anchor Block at every in CC 1:1.5:3 (1 cement :1.5 sand :3 graded stone add 20 mm NS) i/c cost of Excavation , form work , C.C work, and reinforcement & curing complete of tentative size 1.50m x 1.50m x 2.00m to provide support to rising main pipe after every 50 m length complete as per direction and to the entire satisfaction of Engineer -in-Charge with in all leads and lifts. (The RD wise structural design shall got approved from the competent autrhority prior to construction of Thrust/Anchor blocks) Bijhar block | BI01010001010000000000000515BI0100001152 | 34 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : Bhoranj block and Bijhar block | BI01010001010000000000000515BI0100001153 | 96 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with :Bamsan block | BI01010001010000000000000515BI0100001154 | 9 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19 | Designing, Constructing, Testing & Commissioning (to be approved by the competent authority) RCC Circular under ground/partial under ground storage reservoirs as per capacity given below at various stages/sites including excavation in foundation in all kinds of soil. including PCC (1:3:6) in foundation and M:30 design mix in bottom slab/raft ,walls and beams. And RCC (1:1.5:3) in roof slab/dome with provision of inspection path around the dome with all alied Civil Works such as c/o chamber for valves, refilling and disposing of surplus excavated earth with in all leads and lifts. The job also includes providing lowering, laying, erecting, hoisting and jointing of pipe assembly for inlet, outlet, overflow and scour pipe with bye pass arrangement consisting of GI / MS pipes special and valves of required classes and dia and all other accessories required such as MS ladders inside and outside, CI cowl type ventilator, SFRC manhole covers with frames of heavy duty with proper locking arrangement, water level indicator. The tanks shall be hydraulically tested for water tightness, All works shall be conforming to relevant IS code. The cost of valves, be included in the rates of tanks .complete in all respects to the entire satisfaction of the Engineer-in-charge. Refer Data Sheet No-5 | BI01010001010000000000000515BI0100001155 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
19.01 | 100 KL Capacity at LIS Parol | BI01010001010000000000000515BI0100001156 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.02 | 100 KL Capacity at LIS Balor- Sangrawar | BI01010001010000000000000515BI0100001157 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.03 | 100 KL Capacity at LIS Jol | BI01010001010000000000000515BI0100001158 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.04 | 100 KL Capacity at LIS Lagmanwin | BI01010001010000000000000515BI0100001159 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.05 | 100 KL Capacity at LIS Lambagram/Palasi | BI01010001010000000000000515BI0100001160 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.06 | 100 KL Capacity at LIS Mundkhar Tulsi | BI01010001010000000000000515BI0100001161 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.07 | 100 KL Capacity at LIS Samlog | BI01010001010000000000000515BI0100001162 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.08 | 100 KL Capacity at LIS Bhalat | BI01010001010000000000000515BI0100001163 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
19.09 | 100 KL Capacity at LIS Lafran | BI01010001010000000000000515BI0100001164 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.1 | 100 KL Capacity at LIS Ghangot | BI01010001010000000000000515BI0100001165 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.11 | 100 KL Capacity at LIS Kalwal | BI01010001010000000000000515BI0100001166 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
19.12 | 100 KL Capacity at LIS Seri- Bhakredi | BI01010001010000000000000515BI0100001167 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
20 | Pumping Machinery | BI01010001010000000000000515BI0100001168 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
21 | SUBMERSIBLE PUMP SETS- Supply Installation Testing & Commissioning of submersible pumping set of KSB/ Crompton/ Kirloskar/ BS/ Calama make conforming to latest relevant BIS Code 8034:1976. The impeller of pump shall be directly mounted on extended submersible squirrel cage motor shaft conforming to BIS 9283-1979 with up to date amendments, totally dust and weather proof with detach able pump casing for easy inspection with double mechanical seal, grease/ oil lubricated bearings and provided with stainless steel thrust bearing plate to withstand vertical loads with minimum wear and tear, It should be fitted with device to take up expansion of water on heating of motor & suitable for operation on 415V ± 10%, 3 Phase 50 Hz AC supply. The pump motor shall be VFD duty and its power should be at least 10% in excess of maximum power required by the pump in complete operating range with mounting stand/ duck foot bend, steel guide wire with mounting hook, lowering chain and standard accessories as supplied by the manufacturers complete, suitable for fulfilling the following requirements:- including Pump sets (working ), necessary piping, eletro-mechanical flow meter and control valves along with electrical works including indoor & outdoor HT/LT switchboards/ PCC, Soft Starter Cubicle(VFD) with suitable bypass arrangement, HT/LT Cabling system complete with end terminations, cable trays & accessories, Earthing system with maintenance free earth electrodes, 415/ 230V small power distribution boards, local push button stations, Junction Boxes, Power/ Welding receptacles and its associated wiring/ cabling etc.,as per requirement of pumping machinery; complete work inclusive of all taxes, insurance, transportation, freight charges, inspection charges, loading, unloading, conveyance to Departmental stores/ site, stacking, etc. including specials and wastage etc.; complete as per Tender Specifications, technical data Sheets and instruction of Engineer in charge. | BI01010001010000000000000515BI0100001169 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
21.01 | From Intake Well to Desilting tank at Parol LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 6.4 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main 24.00mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 6.4 LPS each with 20 m head | BI01010001010000000000000515BI0100001170 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.02 | From Intake Well to Desilting tank at Jol LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 7.2 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main= 24.00mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 7.2 LPS each with 20 m head | BI01010001010000000000000515BI0100001171 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.03 | From Intake Well to Desilting tank at Balor-Sangrawar LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 12.2 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main =30 mts ix) Dia of R/Main=125 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 12.2 LPS each with 20 m head | BI01010001010000000000000515BI0100001172 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.04 | From Intake Well to Desilting tank at Lagmanwin LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 2.5 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main= 26 mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 2.5 LPS each with 20 m head | BI01010001010000000000000515BI0100001173 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.05 | From Intake Well to Desilting tank at Lambagram/ Palasi LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 6.6 LPS vi) Static Head in meters _18 mts. vii) Duty/Total head in Mts= 25 mts viii) Length of R/Main =30 mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 6.6 LPS each with 25 m head | BI01010001010000000000000515BI0100001174 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.06 | From Intake Well to Desilting tank at Mundkhar Tulsi LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 10.2 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main =15 mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 10.2 LPS each with 20 m head | BI01010001010000000000000515BI0100001175 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.07 | From Intake Well to Desilting tank at Samlog LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 8.3 LPS vi) Static Head in meters _13 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main=30 mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 8.3 LPS each with 20 m head | BI01010001010000000000000515BI0100001176 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.08 | From Intake Well to Desilting tank at Bhalat LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 4.2 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main= 26 mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 4.2 LPS each with 20 m head | BI01010001010000000000000515BI0100001177 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.09 | From Intake Well to Desilting tank at Lafran LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 5.1 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main= 26 mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 5.1 LPS each with 20 m head | BI01010001010000000000000515BI0100001178 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.1 | From Intake Well to Desilting tank at Ghangot LIS i) Rated Voltage :- 415V ± 10% ii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 3.1 LPS vi) Static Head in meters _12 mts. vii) Duty/Total head in Mts= 20 mts viii) Length of R/Main= 27 mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 3.1 LPS each with 20 m head | BI01010001010000000000000515BI0100001179 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.11 | From Intake Well to Desilting tank at Kalwal LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 5.8 LPS vi) Static Head in meters _17 mts. vii) Duty/Total head in Mts= 25 mts viii) Length of R/Main =15 mts ix) Dia of R/Main=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 5.8 LPS each with 25 m head | BI01010001010000000000000515BI0100001180 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
21.12 | From Intake Well to Desilting tank at Seri-Bhakredi LIS i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 5.4 LPS vi) Static Head in meters _17 mts. vii) Duty/Total head in Mts= 25 mts viii) Length of R/Main=30 mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 5.4 LPS each with 25 m head | BI01010001010000000000000515BI0100001181 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22 | CENTRIFUGAL PUMP SETS- Supply Installation Testing & Commissioning ) of horizontal spindle, horizontal/redial split casing/end suction(Back-pull out arrangements) single/double/multi stage star rated centrifugal pump or combination of pumps, of recommended make such as Mather and Platt/KSB/Kirloskar as per BIS 1520-1980 with up to date amendments, read with IS:9137-1978 or latest edition suitable for lifting water for under mentioned characteristics with bronze, impellers/ priming funnels, casing ring and shaft sleeves of bronze, shaft of steel grade 45C8/ EN8 with cast iron casing coupled directly through a flexible coupling on a common MS Base Plate to squirrel cage TEFC Energy efficient motors (Conforming to energy efficiency code IE3 or higher ) of standard make such as Kirloskar / BHEL / CG POWER / Siemens / ABB / Marathon and suitable for operation on 415V ± 10%, 50 Hz., 3 phase AC electric supply. The pump motor shall be VFD duty and its power should be at least +10% in excess of the maximum power required by the pump/pumps in the operation range of (+) 10% and (-)15% of the duty point head. The motor/motors as per IS 12615 : 2011 with up to date amendments. The scope shall also include necessary piping for suction, delivery & common header and eletro-magnetic flowmeter, along with electrical works including indoor & outdoor HT/LT switchboards/ PCC, Soft Starter Cubicle(VFD) with suitable bypass arrangement, HT/LT Cabling system complete with end terminations, cable trays & accessories, Earthing system with maintenance free earth electrodes, 415/ 230V small power distribution boards, local push button stations, Junction Boxes, Power/ Welding receptacles and its associated wiring/ cabling etc. as per requirement of following pumping machinery; Complete work inclusive of all taxes, transportation, freight charges, inspection charges, loading, unloading, conveyance to Departmental stores / site, stacking, etc. including specials and wastage etc. It shall include providing and fixing of C.I/C.S Sluice valves of approved make and appropriate class to resist the design pressure and complete as per Tender Specifications and instruction of Engineer in charge. | BI01010001010000000000000515BI0100001182 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
22.01 | At Parol LIS 2 sets (1 as stand by) of 6.4 LPS each with 100 m Total head, 2900 RPM ,with 16 Hours Pumping | BI01010001010000000000000515BI0100001183 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.02 | At Balor-Sangrawar LIS 2 sets (1 as stand by) of 12.2 LPS each with 125 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001184 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.03 | At Jol LIS 2 sets (1 as stand by) of 7.2 LPS each with 85 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001185 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.04 | At Lagmanwin LIS 2 sets (1 as stand by) of 2.5 LPS each with 15 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001186 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.05 | At Lambagram/ Palasi LIS 2 sets (1 as stand by) of 6.4 LPS each with 105 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001187 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.06 | At Mundkhar Tulsi LIS 2 sets (1 as stand by) of 10.2 LPS each with 100 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001188 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
22.07 | At Samlog LIS 2 sets (1 as stand by) of 8.3 LPS each with 80 m Total head, 2900 RPM 16 Hours Pumping | BI01010001010000000000000515BI0100001189 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.08 | At Bhalat LIS 2 sets (1 as stand by) of 4.2 LPS each with 100 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001190 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.09 | At Lafran LIS 2 sets (1 as stand by) of 5.1 LPS each with 85 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001191 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.1 | At Ghangot LIS 2 sets (1 as stand by) of 3.1 LPS each with 65 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001192 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.11 | At Kalwal LIS 2 sets (1 as stand by) of 5.8 LPS each with 70 m Total head, 2900 RPM with 16 Hours Pumping | BI01010001010000000000000515BI0100001193 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
22.12 | At Seri-Bhakredi LIS 2 sets (1 as stand by) of 5.4 LPS each with 95 m Total head, 2900 RPM 16 Hours Pumping | BI01010001010000000000000515BI0100001194 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
23 | INSTRUMENTATION, CONTROL & AUTOMATION WORK- Supply, installation, testing, integration, programming & commissioning of Instrumentation, Control & Automation system for Lift Irrigation including Level Transmitter with display, Level Indicator, Level Switch, Pressure Transmitter, Gauges, Actuated Valves, Flow Meter, micro PLC based Remote Terminal Unit (RTU) along with panel mounted 10” HMI, UPS, SPD, Instrumentation Cables, Cable Trays, Earthing system etc., necessary gateways with SIM card for remote data communication and all other ancillary works and accessories required to make the system fully functional as per user requirement Scope includes for 8 new schemes At LIS Balor Sangrawar, LIS Jol, LIS Lagmanwin, LIS Lambagram/Palasi, LIS Mundkhar Tulsi, LIS Samlog, LIS Bhalat and LIS Lafran. Refer Data Sheet No-4 | BI01010001010000000000000515BI0100001195 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information