## BoQ1 (hidden)
Item Rate BoQ
BoQ_Ver3.0 | Item Rate | Normal | INR Only | INR
Select, Excess (+), Less (-) |  | Less (-)
Tender Inviting Authority: Executive Engineer Cum Project Manager Jal Shakti Vibhag, Division Jhandutta, Himachal Pradesh
Name of Work: Providing Irrigation Facility under HP SHIVA Project for Jhandutta and Swarghat Blocks, District Bilaspur (Himachal Pradesh) - Package-06
Contract No: HPSHIVA/OCB-CWJ/IRG/BLS-02/2022-23
Name of the Bidder/ Bidding Firm / Company :
PRICE SCHEDULE (This BOQ template must not be modified/replaced by the bidder and the same should be uploaded after filling the relevent columns, else the bidder is liable to be rejected for this tender. Bidders are allowed to enter the Bidder Name and Values only )
NUMBER # | TEXT # | TEXT # | NUMBER # | TEXT # | NUMBER | NUMBER | TEXT | TEXT # | NUMBER # | TEXT# | TEXT # | NUMBER # | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER | NUMBER | TEXT | TEXT | NUMBER | NUMBER | NUMBER # | NUMBER # | TEXT | TEXT | NUMBER # | NUMBER # | DATE | NUMBER # | NUMBER # | TEXT #
Sl. No. | Item Description | Item Code / Make | Quantity | Units | Estimated Rate in Rs. P |  |  | Addition / Deduction | Addition / Deduction Values | Currency Convertion against each Item | Quoted Currency in INR / Other Currency | BASIC RATE In Figures To be entered by the Bidder in Rs. P | Excise Duty | VAT | Freight Charges ( Unloading & Stacking) | Any Other Taxes/Duties/Levies |  |  | Other Taxes 2 | IIIrd Party i.e DGS&D / RITES etc Inspection Charges @0.34%+Service Tax | Less for Cenvat Credit,if any respect of Supplies Under full Excise Duty Category | [30 empty] | TOTAL AMOUNT including Taxes in Rs. P | TOTAL AMOUNT With Taxes | TOTAL AMOUNT In Words
1 | 2 | 3 | 4 | 5 | 6 | 7 | 8 | 9 | 10 | 11 | 12 | 13 | 14 | 15 | 16 | 17 | 18 | 19 | 20 | 21 | 22 | 23 | 24 | 25 | 26 | 27 | 28 | 29 | 30 | 31 | 32 | 33 | 34 | 35 | 36 | 37 | 38 | 39 | 40 | 41 | 42 | 43 | 44 | 45 | 46 | 47 | 48 | 49 | 50 | 51 | 52 | 53 | 54 | 55
1 | Civil Works | BI01010001010000000000000515BI0100001112 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2 | RCC Check Dam : Designing, Constructing, Testing & Commissioning ( to be approved by the competent authority) and Construction of RCC Check Dam as per drawings complete in all respects to the entire satisfaction of the Engineer-in-charge. The contractor shall provide 6 sets of approved drawing and design with one soft copy to the department.for the following size- | BI01010001010000000000000515BI0100001113 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
2.1 | 15 meter length and 3.5 meter depth- LIS Tihri | BI01010001010000000000000515BI0100001114 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
2.2 | 10 meter length and 3.5 meter depth- LIS Kosrian-I | BI01010001010000000000000515BI0100001115 | 1 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
3 | Submersible Mounting Steel Structure :- Designing, Constructing, Testing & Commissioning ( to be approved by the competent authority) and Construction of Submersible Mounting Steel Structure as per drawings having arrangement of chain pulley of suitable capacity for lowering the pumping machinary complete in all respects to the entire satisfaction of the Engineer-in-charge. The contractor shall provide 6 sets of approved drawing and design with one soft copy to the department.At LIS Tihri and LIS Kosarian-1 | BI01010001010000000000000515BI0100001116 | 2 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
4 | Percolation well:- Designing, Constructing, Testing & Commissioning ( to be approved by the competent authority) and Construction of Percolation well with 3.00 mtr internal diameter and 9.00 mtr depth ,having RCC Circular structure, Roofing with RCC slab, allied electrication work including lighting fixtures, fans, street / area lighting using poles, associated wiring/ cabling, MCB DBs, receptacles system & accessories etc., Walk way/passage CI Rungs inside the percolation from top to bottom and steel stair case from ground level to top of percolation well with connecting path having suitable capacity crane/ hoist arrangement for handling of pumping machinery complete in all respects to the entire satisfaction of the Engineer-in-charge. Refer Data Sheet No-1 | BI01010001010000000000000515BI0100001117 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
4.1 | 3.0 Meter Diameter & 9.0 meter depth- LIS Jhandu, LIS Tikri Kotlu and LIS Lehar | BI01010001010000000000000515BI0100001118 | 3 | Nos. | 100 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
5 | PUMP HOUSE:- Designing, Constructing, Testing & Commissioning of Pump House & Chowkidar Room at following locations including all allied Civil Works, Electrical Works including lighting fixtures, fans, street / area lighting using poles, associated cabling/ wiring, MCB DBs, receptacle system & accessories etc., Sanitary Work, Site Development, Cutting/ Excavation in all kinds of soils, c/o PCC/ RCC Retaining walls, Breast walls, Toilets, Septic Tanks, External Solar powered Street lighting, External landscaping, Fire Fighting arrangement, Building Lightning Protection System (where applicable), Gantry Crane, dewatering etc complete as directed by engineer in charge The rates quoted by the contractor shall be for the complete work. All ancillary works and accessories required to make the system fully functional shall be included in the cost of work. Nothing extra shall be paid on this account. Refer Data Sheet No-2 | BI01010001010000000000000515BI0100001119 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
5.1 | Pump house of 35.00 Sqm. Area | BI01010001010000000000000515BI0100001120 | 4 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6 | Designing, Constructing, Testing & Commissioning of Desilting tank including civil work, Necessary valves & fittings, tube settler media etc. complete in all respect as per the drawings & technical specification.for the followings size-Refer Data Sheet No-3 | BI01010001010000000000000515BI0100001121 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
6.1 | 45 KL Capacity- LIS Tihri | BI01010001010000000000000515BI0100001122 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
6.2 | 55 KL Capacity- LIS Fagog Banjholi | BI01010001010000000000000515BI0100001123 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
6.3 | 25 KL Capacity - LIS Jhandu | BI01010001010000000000000515BI0100001124 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.4 | 37.5 KL Capacity - LIS Tikri Kotlu and LIS Lehar | BI01010001010000000000000515BI0100001125 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
6.5 | 50.0 KL Capacity - LIS Kosrian-I and Balh Sinha | BI01010001010000000000000515BI0100001126 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7 | Designing, Constructing, Testing & Commissioning of Sump well including civil work, Necessary valves & fittings, tube settler media etc. complete in all respect as per the drawings & technical specification.for the followings size- | BI01010001010000000000000515BI0100001127 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
7.1 | 17.5 KL Capacity - LIS Tihri | BI01010001010000000000000515BI0100001128 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
7.2 | 12 KL Capacity - LIS Jhandu | BI01010001010000000000000515BI0100001129 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
7.3 | 15 KL Capacity - LIS Tikri Kotlu | BI01010001010000000000000515BI0100001130 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.4 | 18 KL Capacity - LIS Lehar | BI01010001010000000000000515BI0100001131 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
7.5 | 20 KL Capacity - LIS Kosrian-I | BI01010001010000000000000515BI0100001132 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
8 | Excavation in foundation, trenches (for pipes & pits) upto all depths in all classification of earth work such as pick work, jumper work, saturated soil including bailing and pumping out water, blasting soft/ hard rock or chieselling soft/hard rock where blasting is prohibited in all lifts including trimming and dressing of sides, leveling of beds to correct grade i/c shoring /strutting , planking, timbering & dewatering wherever required, stacking the useable & unuseable material /soil separately & after laying jointing & testing of pipes, returning the useable soil in trenches in 15 cm layers including consolidating of such deposoited layer by ramming & watering & then disposing of all surplus excavated soil /unusable material as directed with in all leads & lifts Excluding restoration metalled surfaces to its original condition( Will be paid Separately) & including cost of diversion for traffic, night signals, fixing caution boards, crossing over trenches for access to houses, fencing etc. complete in all respects with in all leads & lifts as per directions of Engineer-in-charge. | BI01010001010000000000000515BI0100001133 | 14613.08 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
9 | Providing ,Laying,jointing & testing of Galvanised Mild steel tube with flange / Butt welding of approved make or by JSV Deptt (list attached) conforming to BIS 1239-2004 ( with upto date ammendements ) of following diameter and class including all specials and fittings as required complete as per actual site condition with in all leads and lifts as per the direction and to the entire satisfaction of Engineer-in Charge. The pipe shall be factory galvanized as per IS: 4736-1986 (with up to date ammendements) . | BI01010001010000000000000515BI0100001134 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
9.1 | 80 mm dia (Medium Class) | BI01010001010000000000000515BI0100001135 | 8875.6 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.2 | 100 mm dia (Medium Class) | BI01010001010000000000000515BI0100001136 | 9707 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
9.3 | 125 mm dia (Medium Class) | BI01010001010000000000000515BI0100001137 | 3593.8 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
9.4 | 150 mm dia (Medium Class) | BI01010001010000000000000515BI0100001138 | 1027.01 | Rmt | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10 | Providing and fixing double flanged cast iron sluice valve of following dia of approved make of JSV to gravity main confirming to BIS: 780-1984 Class PN 1.00 having seat pressureof 10.20 Kg/cm² with M.SFlanges of table -5 with up to date ammendements. | BI01010001010000000000000515BI0100001139 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
10.1 | 80 mm dia | BI01010001010000000000000515BI0100001140 | 18 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
10.2 | 100 mm dia | BI01010001010000000000000515BI0100001141 | 19 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
10.3 | 125 mm dia | BI01010001010000000000000515BI0100001142 | 5 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.02 | Construction of chamber for 100mm sluice plates | item2 | 213 | Nos
10.4 | 150 mm dia | BI01010001010000000000000515BI0100001143 | 2 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
11 | Providing and fixing screwed/flanged CI air valve (Single/double ball type) of approved make of JSV conforming to BIS-1452-1990 with upto date ammendments as per class PN-1.0 withstanding a seat pressure 15 Kg/cm2 in rising main within all leads and lifts. 25mm Dia. | BI01010001010000000000000515BI0100001144 | 94 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
12 | Construction of Anchor Block at every in CC 1:1.5:3 (1 cement :1.5 sand :3 graded stone add 20 mm NS) i/c cost of Excavation , form work , C.C work, and reinforcement & curing complete of tentative size 1.50m x 1.50m x 2.00m to provide support to rising main pipe after every 50 m length complete as per direction and to the entire satisfaction of Engineer -in-Charge with in all leads and lifts. (The RD wise structural design shall got approved from the competent autrhority prior to construction of Thrust/Anchor blocks) | BI01010001010000000000000515BI0100001145 | 94 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13 | Designing, Constructing, Testing & Commissioning R.C.C. Elevated Circular Over head storage tanks as per capacity given below at various stages/sites including excavation in all kinds and types of strata, soil strata including dewatering in M30 design mix in foundation, walls, bottom slab , roof slab/dome with smooth finishing in 1:3 inside the tank, all alied Civil Works, Site development, cutting/excavation in all kinds of soils, C/o PCC/RCC Retaining walls, Breast walls, refilling and disposing of surplus stuff with in all leads and lifts, labour and material charges. The job also includes providing lowering, laying, erecting, hoisting and jointing of pipe assembly for inlet, outlet, overflow and scour pipeproper manifiold at outlet including all fittings, bye pass arrangement consisting of GI / MS pipes special and valves of required classes and dia and all other accessories required such as MS ladders inside and outside ventilator with mosquito proof wire mesh,lightening arrester complete ,SFRC manhole covers including frames and covers (medium duty) with proper locking arrangement water level indicator, RCC frames for all valves ventilating shafts shall also be provided including all leads and lifts as per entire satisfaction of Engineer-in-Charge. The tanks shall be hydraulically tested for water tightness all works shall be conforming to relevant IS code. The cost of valves & other accessories shall be included in the rates of tanks . Battery Limit shall be considered as 3.00 m from the edge of the structure or the boundary of the land whichever is less.The rates quoted by the contractor shall be for the complete work. All ancilliary works and accessories required to make the system fully functional shall be included in the cost of work. Nothing extra shall be paid on this account.The work shall include supplying of Five sets of structural design after testing the bearing capcity of soil and drawings, etc complete as directed by engineer in charge as per relevent data sheet and scope of work.Refer Data Sheet No-4 | BI01010001010000000000000515BI0100001146 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
13.1 | MDT Capacity 200 KL, 5 m staging height- LIS Balh Sinha | BI01010001010000000000000515BI0100001147 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.2 | MDT Capacity 100 KL LIS Tihri | BI01010001010000000000000515BI0100001148 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.3 | MDT Capacity 100 KL,Fagog & Fagog Banjholi | BI01010001010000000000000515BI0100001149 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.4 | MDT Capacity 100 KL, LIS Jhandu | BI01010001010000000000000515BI0100001150 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.5 | MDT Capacity 100 KL, LIS Tikri Kotlu | BI01010001010000000000000515BI0100001151 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.6 | MDT Capacity 100 KL,LIS – Leher | BI01010001010000000000000515BI0100001152 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
13.7 | MDT Capacity 100 KL, LIS Kosriyan | BI01010001010000000000000515BI0100001153 | 1 | Nos. | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
14 | Random rubble masonry with hard stone in foundation and plinth including levelling up with cement concrete 1:6:12 (1 cement : 6 coarse sand : 12 graded stone aggregate 20 mm nominal size) upto plinth level with : | BI01010001010000000000000515BI0100001154 | 138 | Cum | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
15 | Mechanical Works | BI01010001010000000000000515BI0100001155 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
16 | SUBMERSIBLE PUMP SETS- Supply Installation Testing & Commissioning of submersible pumping set of KSB/ Crompton/ Kirloskar/ BS/ Calama make conforming to latest relevant BIS Code 8034:1976. The impeller of pump shall be directly mounted on extended submersible squirrel cage motor shaft conforming to BIS 9283-1979 with up to date amendments, totally dust and weather proof with detach able pump casing for easy inspection with double mechanical seal, grease/ oil lubricated bearings and provided with stainless steel thrust bearing plate to withstand vertical loads with minimum wear and tear, It should be fitted with device to take up expansion of water on heating of motor & suitable for operation on 415V ± 10%, 3 Phase 50 Hz AC supply. The pump motor shall be VFD duty and its power should be at least 10% in excess of maximum power required by the pump in complete operating range with mounting stand/ duck foot bend, steel guide wire with mounting hook, lowering chain and standard accessories as supplied by the manufacturers complete, suitable for fulfilling the following requirements:- including Pump sets (working ), necessary piping, electro-mechanical flowmeter and control valves along with electrical works including indoor & outdoor HT/LT switchboards/ PCC, Soft Starter Cubicle(VFD) with suitable bypass arrangement, HT/LT Cabling system complete with end terminations, cable trays & accessories, Earthing system with maintenance free earth electrodes, 415/ 230V small power distribution boards, local push button stations, Junction Boxes, Power/ Welding receptacles and its associated wiring/ cabling etc.,as per requirement of pumping machinery; complete work inclusive of all taxes, insurance, transportation, freight charges, inspection charges, loading, unloading, conveyance to Departmental stores/ site, stacking, etc. including specials and wastage etc.; complete as per Tender Specifications, technical data Sheets and instruction of Engineer in charge. | BI01010001010000000000000515BI0100001156 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
16.1 | From Check Dam to Desilting tank at LIS Tihri i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 11 LPS vi) Static Head in meters _13 mts. vii) Duty/Total head in Mts= 15 mts viii) Length of R/Main 20.00mts ix) Dia of R/Main=125 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. 2 sets (1 as stand by) of 11 LPS each with 15 m head | BI01010001010000000000000515BI0100001157 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.2 | From Percolation Well to Desilting tank at LIS Jhandu i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point= 6 LPS vi) Static Head in meters _23 mts. vii) Duty/Total head in Mts= 25 mts viii) Length of R/Main 20.00mts ix) Dia of R/Main=80 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days. .2 sets (1 as stand by) of 6 LPS each with 25 m head | BI01010001010000000000000515BI0100001158 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.3 | From Percolation Well to Desilting tank at LIS Tikri Kothlu i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point for LIS Tikri Kothlu = 9 LPS vi) Static Head in meters for LIS Tikri Kothlu _18 mts . vii) Duty/Total head in Mts for LIS Tikri Kothlu= 20 mt viii)For LIS Tikri Kothlu Length of R/Main 20.00mts ix) Dia of R/Main for LIS Tikri Kothlu=100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days.2 sets (1 as stand by) of 9 LPSwith 20 m head | BI01010001010000000000000515BI0100001159 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.4 | FromC heck Dam to Desilting tank at LIS Lehar, i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Point for LIS Lehar=9 LPS vi) Static Head in meters for LIS Lehar_23 mts, vii) Duty/Total head in Mts for LIS Lehar= 25 mts viii)For LIS lehar Length of R/Main 100.00mtr ix) Dia of R/Main for LIS Lehar= 100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days.2 sets (1 as stand by) of 9 LPS with 25 m head. | BI01010001010000000000000515BI0100001160 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
16.5 | FromC heck Dam to Desilting tank at LIS Kosarian, i) Rated Voltage :- 415V ± 10% iii) Charactrstics of water:-Raw Water) Temperature _20_ °C, b) Turbidity upto 100 NTU, c) pH 6.5 to 8 d ) Total solids :-600mg/litre, v) Discharge at Duty Poin for LIS Kosarian=12 LPS vi) Static Head in meters for LIS Kosarian_18 mts . vii) Duty/Total head in Mts for LIS Kosarian= 20 mts viii)for LIS Kosarian length of R/Main 20.00mtr ix) Dia of R/Main for LIS KOsarian= 100 mm x) Pumping hours per day- 16 hours xi) Limits of pump operation (-) 15% to (+) 10% of Total head at duty point xii) HP of motor /Drive unit ---, Power absorbed or Required BHP at (-) 15% of Duty head or BHP with margins/multiplying factor at duty point & (+) 10% head , whichever is higher i.e Upto 2 HP = 1.5 , 2 to 5 HP = 1.4, 5 to 10 HP = 1.3 , 10 to 20 HP = 1.2 , 20 to100 HP = 1.15, Above 100 HP=1.10 xiii) Efficiency at duty point Minimum 60% xiv) R.P.M.of Pumping set -2900, xv) Test Run-24 hours continueously for 7 days.2 sets (1 as stand by) of 12 LPS each with 20 m head. | BI01010001010000000000000515BI0100001161 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17 | CENTRIFUGAL PUMP SETS- Supply Installation Testing & Commissioning ) of horizontal spindle, horizontal/redial split casing/end suction(Back-pull out arrangements) single/double/multi stage star rated centrifugal pump or combination of pumps, of recommended make such as Mather and Platt/KSB/Kirloskar as per BIS 1520-1980 with up to date amendments, read with IS:9137-1978 or latest edition suitable for lifting water for under mentioned characteristics with bronze, impellers/ priming funnels, casing ring and shaft sleeves of bronze, shaft of steel grade 45C8/ EN8 with cast iron casing coupled directly through a flexible coupling on a common MS Base Plate to squirrel cage TEFC Energy efficient motors (Conforming to energy efficiency code IE3 or higher ) of standard make such as Kirloskar / BHEL / CG POWER / Siemens / ABB / Marathon and suitable for operation on 415V ± 10%, 50 Hz., 3 phase AC electric supply. The pump motor shall be VFD duty and its power should be at least +10% in excess of the maximum power required by the pump/pumps in the operation range of (+) 10% and (-)15% of the duty point head. The motor/motors as per IS 12615 : 2011 with up to date amendments. The scope shall also include necessary piping for suction, delivery & common header and eletro-magnetic flowmeter, along with electrical works including indoor & outdoor HT/LT switchboards/ PCC, Soft Starter Cubicle(VFD) with suitable bypass arrangement, HT/LT Cabling system complete with end terminations, cable trays & accessories, Earthing system with maintenance free earth electrodes, 415/ 230V small power distribution boards, local push button stations, Junction Boxes, Power/ Welding receptacles and its associated wiring/ cabling etc. as per requirement of following pumping machinery; Complete work inclusive of all taxes, transportation, freight charges, inspection charges, loading, unloading, conveyance to Departmental stores / site, stacking, etc. including specials and wastage etc. It shall include providing and fixing of C.I/C.S Sluice valves of approved make and appropriate class to resist the design pressure and complete as per Tender Specifications and instruction of Engineer in charge. | BI01010001010000000000000515BI0100001162 | [52 empty] | 1 | Construction of chamber for 100mm sluices valve | item1 | 10 | 1 Nos
17.1 | At LIS Tihri 2 sets (1 as stand by) of 11 LPS each with 125 m Total head , 1450 RPM, with 16 Hours Pumping | BI01010001010000000000000515BI0100001163 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.2 | At LIS Fagog Banjholi and Fagog 2 sets (1 as stand by) of 13 LPS each with 135 m Total head ,1450 RPM, with 16 Hours Pumping | BI01010001010000000000000515BI0100001164 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.3 | At LIS Jhandu 2 sets (1 as stand by) of 6 LPS each with 45 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001165 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.4 | At LIS Tikri Kothlu 3 sets (1 as stand by) of 9 LPS each with 280 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001166 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.5 | At LIS Lehar 2 sets (1 as stand by) of 10 LPS each with 125 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001167 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.6 | At LIS Kosarian 2 sets (1 as stand by) of 8 LPS each with 75 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001168 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
17.7 | At LIS Kosarian 2 sets (1 as stand by) of 4 LPS each with 27 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001169 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
17.8 | At LIS Balh Sinha 2 sets (1 as stand by) of 12 LPS each with 115 m Total head ,1450 RPM,with 16 Hours Pumping | BI01010001010000000000000515BI0100001170 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 1.01 | Supplying, Conveying and fixing spls. Including eart | item1 | 123.223 | Nos
18 | INSTRUMENTATION, CONTROL & AUTOMATION WORK-Supply, installation, testing, integration, programming & commissioning of Instrumentation, Control & Automation system for Lift Irrigation including Level Transmitter with display, Level Indicator, Level Switch, Pressure Transmitter, Gauges, Actuated Valves, Flow Meter, micro PLC based Remote Terminal Unit (RTU) along with panel mounted 10” HMI, UPS, SPD, Instrumentation Cables, Cable Trays, Earthing system etc., necessary gateways with SIM card for remote data communication and all other ancillary works and accessories required to make the system fully functional as per user requirement . Scope includes for five new schemes (LIS Jhandu, LIS Tikri Kothlu, LIS Lehar, LIS Kosarian and LIS Bahl Sinha) Refer Data Sheet No-5 | BI01010001010000000000000515BI0100001171 | 1 | Job | 10 |  |  | Excess(+) | 1 | Full Conversion | INR | [40 empty] | #VALUE! | #VALUE! | #VALUE! | 2 | Construction of chamber for 100mm sluices valve | item3 | 10 | Nos
Total in Figures | [51 empty] | #VALUE! | #VALUE! | #VALUE! | 4 | Construction of chamber for 100mm sluice plates | item5 | 10 | Nos
Quoted Rate in Figures |  |  |  | Select | [47 empty] | 0 | 0 | #VALUE!
Quoted Rate in Words |  | #VALUE!
Validate
Print
Help

## Macros
Please Enable Macros to View BoQ information